## Sheet1
|  |  | Influent | [10 empty] | SBPR | [15 empty] | Fermentate addition to SBPR | [21 empty] | Anaerobic Selector TK-200A | [10 empty] | 1st Aerobic (TK-201) | [13 empty] | 2nd Aerobic | [5 empty] | 3rd Aerobic | [7 empty] | 4th Aerobic | [22 empty] | SRT calculation | [9 empty] | Effluent
| Date | Day # | INF OP + FERM OP devided into main stream | TAN | OP | COD | sCOD (1.5) | ffCOD (0.5) | COD/NH4-N B-stage inf | COD/NH4 B-stage inf & fermentate | pCOD | INF OP w/ fermentate | INF TAN w/ fermentate | SBPR | % RAS | pH | Temp | ORP | SBPR | SBPR | RAS Split | SBPR | SBPR | TSS | TSS | Total VFA | OP | OP | sCOD (1.5) BMT | Fermentate | Fermentate | Fermentate | COD | sCOD (1.5) | ffCOD | TAN | OP | Hach VFA (1.5) | Hach VFA (1.5) | Hach VFA (0.45) | Hach VFA (0.45) | FERM OP | FERM TAN | FERM COD | FERM sCOD | FERM VFA | sCOD | sCOD | P release | sCOD | OP | pH | Temp | NH3-N | NO2-N | OP | NO3-N | sCOD (1.5) | sCOD | sCOD | NO3 | P Uptake | Inf Flow | Inf Flow | COD/TIN removed in B-stage | HRT | RAS Flow | RAS Flow | NRCY | pH | Temp | Temp | NH3-N | NO2-N | OP | NO3-N | pH | Temp | NH3-N | NO2-N | OP | NO3-N | pH | pH | Temp | Alkalinity | NH3-N | NO2-N | OP | NO3-N | Profile | pH | Temp | NH4-N | NO2-N | NO3-N | NH3-N | NO2-N | OP | NO3-N | AS-204 | MLSS | VSS | %VSS | TKN | TP | TP/VSS | SSV5 | SSV30 | SVI5 | SVI30 | Sludge Blanket | OP Removal | WAS pump | WAS pump | Waste | WAS | WAS Flow | Mainstream SRT | Aerobic | Aerobic SRT | Total SRT w/SBPR | SBPR SRT | NH3-N | NO2-N | OP | NO3-N | NOx-N | AVN | OP removal | COD | sCOD | ffCOD | pCOD | TSS | VSS | MAX | MAX | MAX | MAX | NAR | Max | TIN | TIN rem | OP rem | AVN | SBPR
|  |  | Divided into | Comp | Comp | Comp | Comp | Comp | B-stage inf | B-stage inf | Comp | w/ fermentate | w/ fermentate | HRT | Mass | Instant | Instant | Instant | SRT | SRT | Flow Rate | Working | Working | TOP | TOP | Grab Calc | Grab | Grab | Grab | Feed Rate | Feed Rate | Feed Rate | Grab | Grab | Grab | Grab | Grab | Grab | Grab | Grab | Grab | Divided into | Divided into | Divided into | Divided into | Divided into | Consumed in | Consumed in | in SBPR | fermentate to SBPR | fermentate | Instant | Instant | Grab | Grab | Grab | Grab | Grab | Breakthrough | Mass Balance | Mass Balance | or Release | Operating | Operating |  | calc | Operating | Operating |  | Instant | Instant | Instant | Grab | Grab | Grab | Grab | Instant | Instant | Grab | Grab | Grab | Grab | Instant | Instant | Instant | Feed | Grab | Grab | Grab | Grab | Composite | Instant | Instant | Instant | Instant | Instant | Grab | Grab | Grab | Grab | Profile | Grab | Grab |  | % of MLSS | % of MLSS |  | Grab | Grab | Grab | Grab | Depth | Across Profile | Flow rate | Run time | run | Flow | Setpoint | TSS & MLSS Grabs | Fraction | Grab | Grab | `=Total SRT - Mainstream | Comp | Comp | Comp | Comp | Comp |  | Including | Comp | Comp | Comp | Comp | Comp | Comp | AOB | NOB | AOB | NOB |  | NOB/AOB | Calc | Efficiency | Efficiency | Effluent | Effluent AM
|  | day | Mainstream | Onsite | Onsite | Onsite | Onsite | Onsite |  | & fermentate | Onsite |  |  |  | Split | Handheld | Handheld | Process | Days | Hours | L/min | Volume | Volume | B/mix | A/mix | CEL | TOP BM | TOP AM | TOP BM | to SBPR | to SBPR | to SBPR | Onsite | Onsite | Onsite | Onsite | Onsite | Onsite | Onsite | Onsite | Onsite | Mainstream | Mainstream | Mainstream | Mainstream | Mainstream | SBPR BM | SBPR AM |  |  |  | Handheld | Handheld | Onsite | Onsite | Onsite | Onsite | Onsite | to 201 | around AS | Around AS | g/day | Parameter | Parameter |  |  | Parameter | Parameter |  | Handheld | Handheld | Probe | Onsite | Onsite | Onsite | Onsite | Handheld | Handheld | Onsite | Onsite | Onsite | Onsite | Handheld | Probe | Handheld | Conc. | Onsite | Onsite | Onsite | Onsite | Grab | Handheld | Handheld | WTW | S::CAN | S::CAN | Onsite | Onsite | Onsite | Onsite | OP | Onsite | Onsite |  | Calc | Calc | Calc | Onsite | Onsite | Calc | Calc | Onsite | (201-204) Calc |  | from Telog |  | Calc | Calc | Calc | Telog | Calc | calc |  | Onsite | Onsite | Onsite | Onsite | Calc |  | Fermentate | Onsite | 1.5 | Onsite | Calc | Onsite | Onsite | Rate | Rate | Rate | Rate |  | Rate |  | % | % | sCOD | sCOD
| (dd:mm:yyyy) | (0-632) | mg/L | (mg N/L) | (mg P/L) | (mg/L) | (mg/L) | (mg/L) |  |  | (mg/L) | (mg/L) | (mg/L) | hr | % | (pH) | (°C) |  |  |  |  | L | gal | mg/L | mg/L | g/day | (mg P/L) | (mg P/L) | (mg/L) | mL/min | L/min | L/day | (mg/L) | (mg/L) | (mg/L) | (mg N/L) | (mg P/L) | (mg/L as Ac) | (mg/L as COD) | (mg/L as Ac) | (mg/L as COD) | Flow (mg/L) | Flow (mg/L) | Flow (mg/L) | Flow (mg/L) | Flow (mg/L) | (g/day) | (g/day) | g/day | g/day | g/day | (pH) | (°C) | (mg N/L) | (mg N/L) | (mg P/L) | (mg N/L) | (mg/L) | g/day | g/day | g/day |  | (L/min) | (gpm) |  | (hr) | (gpm) | (L/min) | (gpm) | (pH) | (°C) | (°C) | (mg N/L) | (mg N/L) | (mg P/L) | (mg N/L) | (pH) | (°C) | (mg N/L) | (mg N/L) | (mg P/L) | (mg N/L) | (pH) | (pH) | (°C) | (g NaHCO3/L) | (mg N/L) | (mg N/L) | (mg P/L) | (mg N/L) |  | (pH) | (°C) | (mg N/L) | (mgN/L) | (mgN/L) | (mg N/L) | (mg N/L) | (mg P/L) | (mg N/L) | mg/L | (mg/L) | (mg/L) |  | % | % | N/A | (mL/L) | (mL/L) | mL/g | mL/g | (ft) | mg/l | (gpm) | % of day | minutes | (gpd) | (gpd) | (days) |  | (days) | days | days | (mg N/L) | (mg N/L) | (mg P/L) | (mg N/L) | (mg N/L) |  | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | mg/gMLSS/d | mg/gMLSS/d | mg/L/d | mg/L/d |  |  | (mg N/L) |  |  | g/d | g/d
190703 | 2019-07-03 | 336 | 3.5822 | 35.4 | 2.78 | 256 | 107 |  | 7.2316 | 9.7033 | 149 | 3.4982 | 37.9075 | 3.8743 | 24.99% |  |  |  | 0.47567 | 11.416 | 0.7 | 174.11 | 46 | 3250 | 8950 |  |  |  |  | 50 | 0.05 | 72 | 4656 | 2442 | 1458 | 104.4 | 33.4 | 885 | 955.8 | 684 |  | 0.80221 | 2.5075 | 111.829 | 58.6526 | 22.9566 |  |  |  | 175.824 | 2.4048 | [8 empty] | #N/A | #N/A | #N/A | 2.0818 | 0.55 | 10.0104 | 5.2727 | 0.74 | 2.8009 | 0 | [16 empty] | 60 | [15 empty] | 4420 | 3780 | 0.8552 | 11.43% | 2.489% | 0.024894 | 950 | 730 | 214.9321 | 165.1584 | 2.4 |  | 0.25 | 5.05 | 72.72 | 18.18 | 18.18 | 7.3254 | 0.53 | 3.8825 | 11.2469 | 3.9214 | 6.47 | 0.172 | 0.19 | 5.34 | 5.512 | 0.85193 | 3.3082 | 53.4 | 31.8 |  | 21.6 | TSS: 16.25; VSS: 13.5; NAR: 0.031205; TIN: 11.982 | 66.1525 | 93.1655 | 223.5863 | 0
190802 | 2019-08-02 | 366 | 3.3374 | 32 | 2.64 | 175 | 80 |  | 5.4688 | 8.7679 | 95 | 3.2443 | 34.2556 | 3.7203 | 24.99% | 6.81 | 21.9 |  | 0.3339 | 8.0136 | 0.7 | 174.11 | 46 | 5380 | 10400 |  | 20.9 | 61 | 43.2 | 63 | 0.063 | 90.72 | 4368 | 1157 |  | 78.6 | 24.3 | 636 | 686.88 | 526 |  | 0.69735 | 2.2556 | 125.3514 | 33.2032 | 19.7119 | 57.4983 | 37.6115 | 15.4418 | 104.963 | 2.2045 | 6.99 | 20.8 | 20.7 |  | 5.38 | 0.612 | 38 | 315.1434 | 130.1734 | 28.912 | -4.7985 | 2.1953 | 0.58 | 10.1276 | 5 | 0.74 | 2.8009 | 0 | 7.02 | 20.7 | 20.8 | 17.3 | 0.151 | 3.95 | 3.01 | 7.05 | 20.8 | 14.1 | 0.147 | 3.16 | 4.76 | 7.02 | 7.02 | 20.8 | 60 | 11.5 | 0.168 | 2.53 | 6.5 |  | 7.03 | 20.9 |  |  |  | 9.05 | 0.167 | 2.11 | 8.26 | 3.27 | 3670 | 3130 | 0.85286 | #N/A | 0% | #N/A | 780 | 400 | 212.5341 | 108.9918 | 1.9 | 3.27 | 0.25 | 5.03 | 72.432 | 18.108 | 18.108 | 8.2848 | 0.486 | 4.0264 | 14.4914 | 6.2067 | 9.22 | 0.197 | 2.75 | 7.63 | 7.827 | 0.84892 | 0.49425 | 48.1 | 30.2 |  | 17.9 | 16.75 | 14.25 | #N/A | #N/A | #N/A | #N/A | 0.025169 | #N/A | 17.047 | 46.7281 | -4.1667 | 217.2747 | 67.3515
190830 | 2019-08-30 | 394 | 4.0705 | 33.4 | 2.47 |  |  |  | #N/A | #N/A | #N/A | 3.8595 | 37.6309 | 3.5388 | 24.33% | 6.8 | 20.7 | -373.2 | 0.41875 | 10.0499 | 0.7 | 174.11 | 46 | 4690 | 11370 |  | 20.55 | 68.5 | 52.1 | 120 | 0.12 | 172.8 | 4404 | 930 |  | 77.4 | 29.28 | 344 | 371.52 | 314 |  | 1.6005 | 4.2309 | 240.7325 | 50.8359 | 20.3081 | 99.1843 | 104.0256 | 13.9756 | 160.704 | 5.0596 | 7 | 19.9 | 22.1 |  | 16.3 | 0.261 | 39.8 | 337.6766 | #N/A | 34.6703 | -90.8116 | 2.1953 | 0.58 |  | 5 | 0.76 | 2.8766 |  | 7.05 | 19.9 | 19.9 | 17.5 | 0.297 | 7 | 2.52 | 7.11 | 20 | 15 | 0.257 | 5.43 | 4.96 | 7.09 | 6.95 |  | 60 | 12.5 | 0.369 | 4.19 | 7.47 |  | 7.08 | 19.9 |  |  |  | 9.75 | 0.35 | 3.72 | 8.83 | 12.58 | 2290 | 1950 | 0.85153 | #N/A | 0% | #N/A | 410 | 230 | 179.0393 | 100.4367 |  | 12.58 | 0.25 | 6.28 | 90.432 | 22.608 | 22.608 | 4.9675 | 0.529 | 2.6278 | 11.4879 | 6.5204 | 7.42 | 0.411 | 2.95 | 5.23 | 5.641 | 0.76024 | 0.90954 | [6 empty] | #N/A | #N/A | #N/A | #N/A | 0.072859 | #N/A | 13.061 | 60.8952 | -19.4332 | 0 | 56.6784
190913 | 2019-09-13 | 408 | 3.8391 | 31.1 | 2.45 | 187 | 85.3 |  | 6.0129 | 11.0687 | 101.7 | 3.6799 | 36.0592 | 3.6501 | 24.66% | 7.14 | 19.5 |  | 0.17816 | 4.276 | 0.7 | 174.11 | 46 | 11120 | 11470 |  | 26.35 | 32.7 | 69.9 | 95 | 0.095 | 136.8 | 4902 | 1326 |  | 114.6 | 32.1 | 274 | 295.92 | 214 |  | 1.3891 | 4.9592 | 212.1305 | 57.3817 | 12.8057 | 101.3753 | 116.7156 | 16.8374 | 181.3968 | 4.3913 | 7.01 | 20.1 | 19.7 |  | 6.12 | 1.28 | 45.4 | 381.08 | 142.1928 | 30.8634 | -9.9034 | 2.1953 | 0.58 | 11.8276 | 5 | 0.75 | 2.8388 |  | 7.06 | 19.9 | 19.8 | 15.5 | 0.368 | 3.72 | 3.96 | 7.12 | 19.9 | 13.4 | 0.366 | 2.63 | 3.34 | 7.13 | 6.93 | 19.9 | 60 | 10.8 | 0.465 | 2.48 | 7.55 |  | 7.16 | 19.9 |  |  |  | 8.42 | 0.439 | 0.87 | 9.82 | 5.25 | 4510 | 3900 | 0.86475 | #N/A | 0% | #N/A | 890 | 550 | 197.3392 | 121.9512 |  | 5.25 | 0.25 | 5.03 | 72.432 | 18.108 | 18.108 | 7.8433 | 0.523 | 4.1021 | 13.1168 | 5.2735 | 7.95 | 0.468 | 1.46 | 8.89 | 9.358 | 1.1771 | 2.2199 | 67.8 | 34.3 |  |  |  |  | #N/A | #N/A | #N/A | #N/A | 0.050011 | #N/A | 17.308 | 44.3473 | 40.4082 | 248.6418 | 64.6812
191004 | 2019-10-04 | 429 | 4.0848 | 33.7 | 2.7 | 182 | 94.8 |  | 5.4006 | 8.0063 | 87.2 | 3.9153 | 38.9795 | 3.6501 | 33.03% | 6.88 | 22 | -364.9 | 1.5785 | 37.885 | 0.7 | 174.11 | 46 | 720 | 6580 |  |  |  |  | 95 | 0.095 | 136.8 | 3006 | 1383 |  | 122 | 32 | 411 | 443.88 | 367 |  | 1.3848 | 5.2795 | 130.0824 | 59.8483 | 19.2086 |  |  |  | 189.1944 | 4.3776 | 6.91 | 21.7 | [6 empty] | #N/A | #N/A | #N/A | 2.1953 | 0.58 | 4.8911 | 5 | 0.8 | 3.028 |  | 6.94 | 21.6 | 21.5 |  |  |  |  | 6.94 | 21.6 |  |  |  |  | 6.91 | 6.86 | 21.6 | 60 | [5 empty] | 6.95 | 21.6 | [7 empty] | #N/A | 3780 | 3250 | 0.85979 | #N/A | 0% | #N/A | 530 | 250 | 140.2116 | 66.1376 | 1.5 | #N/A | 0.25 | 5.0324 | 72.4667 | 18.1167 | 18.1167 | 6.0269 | 0.787 | 4.7432 | 8.8004 | 2.7736 | 3.6 | 1.13 | 5.3 | 11.3 | 12.43 | 3.4528 | -1.3847 | 134 | 32.6 |  |  | 86.75 | 76.75 | #N/A | #N/A | #N/A | #N/A | 0.090909 | #N/A | 16.03 | 52.4332 | -96.2963 | 245.2026 | 0
191019 | 2019-10-19 | 444 | 2.48 | 27.6 | 2.48 | 246 | 125 |  | 8.913 | #N/A | 121 | #N/A | #VALUE! | 3.6501 | 33.03% |  |  |  | #N/A | #N/A | 0.7 | 174.11 | 46 | [6 empty] | 95 | 0.095 | 136.8 | [17 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A | #N/A | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 | [17 empty] | 60 | [14 empty] | #N/A |  |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  |  | 0.25 | 5.9167 | 85.2 | 21.3 | 21.3 | #N/A | 0.427 | #N/A | #N/A | #N/A | 3.55 | 0.995 | 2.05 | 7.5 | 8.495 | 2.393 |  | 61.3 | 31.4 |  |  | 22.75 | 21.75 | #N/A | #N/A | #N/A | #N/A | 0.11713 | #N/A | 12.045 | #N/A | #N/A | 236.1767 | 0
191025 | 2019-10-25 | 450 | 4.3528 | 35.2 | 3 | 217 | 112 |  | 6.1648 | 8.6964 | 105 | 4.1722 | 39.2245 | 3.6501 | 33.03% | 6.93 | 19.7 | -366.1 | 0.38798 | 9.3115 | 0.7 | 174.11 | 46 | 4590 | 10310 |  | 44.35 | 43.45 | 55.9 | 95 | 0.095 | 136.8 | 2868 | 1497 |  | 93 | 31.26 | 510 | 550.8 | 398 |  | 1.3528 | 4.0245 | 124.1106 | 64.7816 | 23.8355 | 140.7953 | 149.1523 | 30.9421 | 204.7896 | 4.2764 | 6.79 | 21.2 | 19.7 |  | 12 | 0.252 | 53.8 | 466.2497 | 160.583 | 28.7576 | -38.3339 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  | 6.88 | 21.1 | 21.1 | 15.9 | 0.51 | 6.41 | 1.27 | 6.95 | 21.1 | 11.8 | 0.811 | 4.24 | 2.56 | 6.99 | 6.92 | 21.1 | 90 | 7.64 | 1.06 | 2.62 | 4.95 |  | 7.05 | 21.1 |  |  |  | 4.08 | 1.16 | 1.24 | 7.03 | 10.76 | 3090 | 2670 | 0.86408 | #N/A | 0% | #N/A | 940 | 720 | 304.2071 | 233.0097 | 2.4 |  | 0.25 | 6.8218 | 98.2333 | 24.5583 | 24.5583 | 6.2653 | 0.423 | 2.6502 | 11.7918 | 5.5265 | 5.42 | 1.23 | 1.8 | 6.6 | 7.83 | 1.4446 |  | 60.4 | 31.4 |  |  | 21.75 | 22 | #N/A | #N/A | #N/A | #N/A | 0.15709 | #N/A | 13.25 |  |  | 236.1767 | 55.6373
191108 | 2019-11-08 | 464 | 4.4811 | 35.1 | 3.33 |  |  |  | #N/A | #N/A | #N/A | 4.2952 | 39.6871 | 3.6501 | 33.03% | 6.96 | 20.1 | -361.2 | 0.52419 | 12.5805 | 0.7 | 174.11 | 46 | 3740 | 11350 |  | 22.2 | 47.8 | 37.7 | 95 | 0.095 | 136.8 | 5268 | 1632 | 1170 | 106 | 26.6 | 366 | 395.28 | 311 |  | 1.1511 | 4.5871 | 227.9688 | 70.6236 | 17.1055 | 180.0986 | 161.5529 | 15.1407 | 223.2576 | 3.6389 | 6.9 | 20.8 | 15.2 |  | 47.8 | 0.334 | 38.7 | 335.3878 | #N/A | 16.6732 | -373.6882 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  | 7.02 | 20.8 | 20.8 | 18.4 | 0.268 | 10.1 | 0.551 | 7.06 | 20.7 | 15.8 | 0.681 | 7.83 | 1.53 | 7.04 | 7.04 | 20.6 | 90 | 10.8 | 1.35 | 4.03 | 2.67 |  | 7.14 | 20.5 | 10.1 | 1.13 | 5.27 | 5.92 | 1.98 | 1.06 | 4.4 | 46.74 | 3260 | 2810 | 0.86196 | #N/A | 0% | #N/A | 910 | 580 | 279.1411 | 177.9141 | 2.6 |  | 0.25 | 7.7037 | 110.9333 | 27.7333 | 27.7333 | 5.1571 | 0.491 | 2.5321 | 9.9038 | 4.7467 | 4.39 | 2.21 | 0.9 | 4.7 | 6.91 | 1.574 | [5 empty] | 26.75 | 15.5 | #N/A | #N/A | #N/A | #N/A | 0.31983 | #N/A | 11.3 |  |  | 0 | 61.7047
191111 | 2019-11-11 | 467 | 4.1375 | 31.9 | 3.06 |  |  |  | #N/A | #N/A | #N/A | 3.9659 | 35.1888 | 3.6501 | 33.03% | 7.08 | 19.9 | -369.9 | #N/A | #N/A | 0.7 | 174.11 | 46 | [6 empty] | 95 | 0.095 | 136.8 | 4452 | 1782 |  | 76 | 24.9 | 606 | 654.48 |  |  | 1.0775 | 3.2888 | 192.657 | 77.1147 | 28.3221 |  |  |  | 243.7776 | 3.4063 | 6.92 | 20.4 | [6 empty] | #N/A | #N/A | #N/A | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  | 7.01 | 20.4 | 20.6 |  |  |  |  | 7.07 | 20.4 |  |  |  |  | 7.06 | 6.82 | 20.4 | 90 | [5 empty] | 7.11 | 20.3 | [7 empty] | #N/A | 3290 | 2650 | 0.80547 | #N/A | 0% | #N/A | 860 | 500 | 261.3982 | 151.9757 | 2.1 |  | 0.25 | 7.6887 | 110.7167 | 27.6792 | 27.6792 | 5.1832 | 0.68 | 3.5246 | #N/A | #N/A | 2.46 | 2.03 | 0.55 | 4.19 | 6.22 | 2.5285 | [7 empty] | #N/A | #N/A | #N/A | #N/A | 0.32637 | #N/A | 8.68 |  |  | 0 | 0
191115 | 2019-11-15 | 471 | 4.2592 | 33.3 | 3.07 | 234 | 101 |  | 7.027 | 14.6518 | 133 | 4.0825 | 37.3245 | 3.6501 | 33.03% | 6.94 | 18.9 | -385 | 0.71925 | 17.262 | 0.7 | 174.11 | 46 | 2560 | 10660 |  | 3.19 | 11.6 | 45.9 | 95 | 0.095 | 136.8 | 7230 | 1125 | 966 | 93 | 27.48 | 371 | 400.68 | 306 |  | 1.1892 | 4.0245 | 312.873 | 48.6836 | 17.3391 | 101.3537 | 91.2794 | -0.85181 | 153.9 | 3.7593 | 6.99 | 19.5 | 20.6 |  | 7.57 | 0.361 | 41.8 | 362.2535 | 181.8162 | 16.819 | -46.8406 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  | 7.03 | 19.5 | 19.5 | 16.1 | 0.578 | 3.68 | 0.804 | 7.03 | 19.5 | 12.3 | 1.75 | 2.37 | 1.71 | 7.09 | 7.06 | 19.4 | 90 | 8.63 | 2.73 | 1.69 | 3.04 |  | 7.1 | 19.4 |  |  |  | 5.53 | 3.31 | 1.24 | 4.48 | 6.33 | 2950 | 2448.5 | 0.83 | #N/A | 0% | #N/A | 810 | 420 | 274.5763 | 142.3729 | 3 |  | 0.25 | 7.7095 | 111.0167 | 27.7542 | 27.7542 | 4.8657 | 0.502 | 2.4426 | 9.514 | 4.6483 | 5.63 | 3.34 | 1.65 | 3.77 | 7.11 | 1.2629 |  | 61 | 33.1 |  |  | 30.75 | 26.25 | #N/A | #N/A | #N/A | #N/A | 0.46976 | #N/A | 12.74 |  |  | 248.9634 | 62.6206
191122 | 2019-11-22 | 478 | 4.1752 | 33.7 | 2.89 | 297 | 109 |  | 8.8131 | 13.9998 | 188 | 4.0021 | 37.7764 | 3.6501 | 33.03% |  |  |  | 0.35952 | 8.6285 | 0.7 | 174.11 | 46 | 4790 | 9970 |  | 20.8 | 58.5 |  | 95 | 0.095 | 136.8 | 5358 | 1818 | 1149 | 94.2 | 29.7 | 870 | 939.6 | 642 |  | 1.2852 | 4.0764 | 231.8635 | 78.6726 | 40.6605 |  |  | 14.138 | 248.7024 | 4.063 |  |  | 19 |  | 8.01 | ND |  |  | #N/A | #N/A | #N/A | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  |  |  |  | 17.9 | 0.456 | 4.2 | 0.454 |  |  | 13.9 | 1.34 | 1.99 | 1.01 |  |  |  | 90 | 9.96 | 2.41 | 1.08 | 1.66 |  |  |  | 9.6 | 3.45 | 7.73 | 5.73 | 2.91 | 0.33 | 3.06 | 7.68 | 3110 | 2500 | 0.80386 | #N/A | 0% | #N/A | 820 | 440 | 263.6656 | 141.4791 | 2.2 |  | 0.25 | 8.2269 | 118.4667 | 29.6167 | 29.6167 | 3.7328 | 0.518 | 1.9336 | 7.1288 | 3.396 |  |  |  |  | #N/A | #N/A |  | 78.6 | 36.7 |  |  | 37.25 | 32.75 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 276.041 | 0
191129 | 2019-11-29 | 485 | 2.82 | 31.8 | 2.82 |  |  |  | #N/A | #N/A | #N/A | #N/A | #VALUE! | 3.6501 | 33.03% |  |  |  | #N/A | #N/A | 0.7 | 174.11 | 46 | [6 empty] | 95 | 0.095 | 136.8 | [17 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A | #N/A | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 | [17 empty] | 90 | [14 empty] | #N/A |  |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  |  | 0.25 | 8.8819 | 127.9 | 31.975 | 31.975 | #N/A | 0.586 | #N/A | #N/A | #N/A | 4.54 | 2.84 | 0.5 | 0.704 | 3.544 | 0.78062 | [7 empty] | #N/A | #N/A | #N/A | #N/A | 0.80135 | #N/A | #N/A |  |  | 0 | 0
191206 | 2019-12-06 | 492 | 3.4255 | 32.2 | 2.47 | 303 | 107 |  | 9.4099 | 13.2509 | 196 | 3.2834 | 35.3677 | 3.6501 | 33.03% |  |  | -382.3 | 0.26231 | 6.2956 | 0.7 | 174.11 | 46 | 5360 | 8140 |  | 50.8 | 38.2 | 55.5 | 95 | 0.095 | 136.8 | 3828 | 1209 | 927 | 73.2 | 22.08 | 585 | 631.8 | 509 |  | 0.9555 | 3.1677 | 165.6539 | 52.3186 | 27.3407 | 101.8548 | 89.033 | 36.809 | 165.3912 | 3.0205 |  |  | 18.7 |  | 12.2 | 0.307 | 54.1 | 468.8496 | 146.8287 | 7.5452 | -35.0999 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  |  |  | 19.2 | 15.2 | 1.28 | 5.68 | 0.688 |  |  | 11.1 | 3.24 | 3.08 | 1.91 |  |  |  | 90 | 8.23 | 4.57 | 2.42 | 1.58 |  |  |  | 10.8 | 1.94 | 6.19 | 5.17 | 5.22 | 1.07 | 2.26 | 11.13 | 3750 | 3160 | 0.84267 | #N/A | 0% | #N/A | 950 | 700 | 253.3333 | 186.6667 | 2.3 |  | 0.25 | 8.8843 | 127.9333 | 31.9833 | 31.9833 | 4.2887 | 0.666 | 2.8563 | 7.0125 | 2.7238 | 3.35 | 5.18 | 0.59 | 2.96 | 8.14 | 2.4299 |  | 68.1 | 35 |  |  | 33.5 | 29.75 | #N/A | #N/A | #N/A | #N/A | 0.63636 | #N/A | #N/A |  |  | 263.2543 | 76.3582
191213 | 2019-12-13 | 499 | 3.28 |  | 3.28 | 253 | 155 |  | #N/A | #N/A | 98 | #N/A | #N/A | 3.6501 | 33.03% |  |  |  | #N/A | #N/A | 0.7 | 174.11 | 46 | [6 empty] | 95 | 0.095 | 136.8 | [17 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A | #N/A | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 | [17 empty] | 90 | [14 empty] | #N/A |  |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  |  | 0.25 | 8.8958 | 128.1 | 32.025 | 32.025 | #N/A | 0.411 | #N/A | #N/A | #N/A | 4.89 | 0.026 | 3.16 | 2.21 | 2.236 | 0.45726 |  |  | 34.8 |  |  |  |  | #N/A | #N/A | #N/A | #N/A | 0.011628 | #N/A | #N/A |  |  | 261.75 | 0
191220 | 2019-12-20 | 506 | 3.5074 | 47.2 | 2.3 | 211 | 111 | 60.4 | 4.4703 | 8.3842 | 100 | 3.3619 | 50.6533 | 3.6501 | 33.03% |  |  | -405.7 | 0.33841 | 8.1217 | 0.7 | 174.11 | 46 | 4900 | 9600 |  | 45.1 | 77.5 | 96.1 | 95 | 0.095 | 136.8 | 4938 | 2787 |  | 79.8 | 27.9 | 1089 | 1176.12 | 803 |  | 1.2074 | 3.4533 | 213.6883 | 120.6054 | 50.8957 | 271.2463 | 258.768 | 33.4686 | 381.2616 | 3.8167 |  |  | 23.7 |  | 23.7 | 0.401 | 57 | 493.9821 | 196.6906 | 7.0562 | -130.4453 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  |  |  | 18.5 | 21 | 1.88 | 10.1 | 0.577 |  |  | 18.7 | 3.77 | 6.77 | 0.945 |  | 6.94 |  | 90 | 15.6 | 5.38 | 5.96 | 1.37 |  |  |  | 11.7 | 5.44 | 4.07 | 9.49 | 5.96 | 3.68 | 2.31 | 20.02 | 3960 | 3330 | 0.84091 | #N/A | 0% | #N/A | 500 | 210 | 126.2626 | 53.0303 | 1.2 |  | 0.25 | 8.8727 | 127.7667 | 31.9417 | 31.9417 | 4.0232 | 0.661 | 2.6594 | 6.8422 | 2.8189 | 7.47 | 6.62 | 3.3 | 0.363 | 6.983 | 0.93481 |  | 95 | 40.7 | 38.1 |  | 46.5 | 42 | 40.5818 | 10.9576 | 160.704 | 43.392 | 0.94802 | 0.27001 | 10.85 |  |  | 306.1272 | 122.4936
200103 | 2020-01-03 | 520 | 2.78 | 28.7 | 2.78 | 294 | 117 |  | 10.2439 | #N/A | 177 | #N/A | #VALUE! | 3.6501 | 33.03% |  |  |  | #N/A | #N/A | 0.7 | 174.11 | 46 | [6 empty] | 95 | 0.095 | 136.8 | [17 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A | #N/A | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 | [17 empty] | 90 | [14 empty] | #N/A |  |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  |  | 0.25 | 2.963 | 42.6667 | 10.6667 | 10.6667 | #N/A | 0.80066 | #N/A | #N/A | #N/A | 7.05 | 6.4 | 0.15 | 0.638 | 7.038 | 0.9983 |  | 95.5 | 41.3 |  |  | 252 | 243.5 | #N/A | #N/A | #N/A | #N/A | 0.90935 | #N/A | #N/A |  |  | 310.6401 | 0
200110 | 2020-01-10 | 527 | 5.1166 | 32.8 | 2.65 | 256 | 115 |  | 7.8049 | 19.3692 | 141 | 4.9044 | 40.2259 | 3.6501 | 33.03% | 6.59 | 18.8 |  | 0.50939 | 12.2252 | 0.7 | 174.11 | 46 | 5300 | 15630 |  | 44.75 | 85.5 | 217 | 95 | 0.095 | 136.8 | 12089 | 6150 | 6000 | 171.6 | 57 | 2604 | 2812.32 | 1873 |  | 2.4666 | 7.4259 | 523.1426 | 266.1367 | 121.7011 | 592.8984 | 710.8128 | 29.5783 | 841.32 | 7.7976 | 6.72 | 19.4 | 23.5 |  | 22.5 | ND | 68.1 | 590.1786 | 290.8441 | #VALUE! | -134.4702 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  | 6.93 | 19.7 | 19.3 | 16 | 0.048 | 7.28 | ND | 7.01 | 19 | 13.7 | 1.11 | 1.09 | 0.274 | 7.01 | 6.97 | 19 | 90 | 10.2 | 3.33 | 0.54 | 0.413 |  | 7.02 | 19.2 | 14.8 | 2.77 | 4.69 | 7.42 | 5.04 | 0.21 | 0.335 | 22.29 | 3040 | 2510 | 0.82566 | #N/A | 0% | #N/A | 400 | 230 | 131.5789 | 75.6579 | 1.6 |  | 0.25 | 2.9676 | 42.7333 | 10.6833 | 10.6833 | 6.7892 | 0.7344 | 4.986 | 17.0272 | 10.238 | 11.9 | 4.99 | 0.34 | 0.448 | 5.438 | 0.45697 |  | 206 | 43.9 |  |  | 40.75 | 35.5 | #N/A | #N/A | #N/A | #N/A | 0.91762 | #N/A | 14.52 |  |  | 330.1961 | 130.5072
200117 | 2020-01-17 | 534 | 7.5205 | 34.5 | 3.47 | 315 | 121 |  | 9.1304 | 20.0713 | 194 | 7.2085 | 42.7048 | 3.6501 | 33.03% | 6.36 | 19.3 | -402.8 | 0.31774 | 7.6257 | 0.7 | 174.11 | 46 | 8350 | 15360 |  | 114 | 142 | 178 | 95 | 0.095 | 136.8 | 12528 | 6288 |  | 189.6 | 93.6 | 3132 | 3382.56 | 2154 |  | 4.0505 | 8.2048 | 542.14 | 272.1086 | 146.3778 | 656.424 | 705.6504 | 79.0621 | 860.1984 | 12.8045 | 6.5 | 18.9 | 19.4 |  | 27.3 | 0.324 | 55.2 | 478.3826 | 334.6513 | -1.1332 | -93.5886 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  | 6.79 | 19.1 | 19.1 | 18 | 0.029 | 9.04 | 0.268 | 6.86 | 19.2 | 13 | 1.03 | 0.33 | 0.488 | 6.85 | 7.02 | 19.2 | 90 | 9.72 | 3.54 | 0.27 | 0.337 |  | 6.78 | 19.3 | 8 | 5.07 | 0.35 | 6.02 | 4.82 | 0.35 | 0.299 | 26.95 | 5930 | 5100 | 0.86003 | #N/A | 0% | #N/A | 820 | 430 | 138.2799 | 72.5126 | 2.1 |  | 0.25 | 2.963 | 42.6667 | 10.6667 | 10.6667 | 9.7654 | 0.75136 | 7.3373 | 17.9869 | 8.2215 | 4.5 | 4.43 | 0.21 | 0.362 | 4.792 | 1.0649 |  | 163 | 43.1 |  |  | 59.45 | 53.2 | #N/A | #N/A | #N/A | #N/A | 0.92446 | #N/A | 8.776 |  |  | 324.1789 | 154.548
200124 | 2020-01-24 | 541 | 4.1947 | 32.7 | 2.52 | 252 | 120 |  | 7.7064 | 18.2706 | 132 | 3.9261 | 38.0747 | 3.6501 | 33.03% |  |  | -398.5 | 0.26741 | 6.4178 | 0.7 | 174.11 | 46 | 10490 | 16240 |  | 56.5 | 126.5 | 111 | 95 | 0.095 | 136.8 | 10252 | 5700 | 2532 | 124.2 | 38.7 | 1485 | 1603.8 | 1254 |  | 1.6747 | 5.3747 | 443.6478 | 246.6633 | 69.4033 | 652.6872 | 675.3542 | 42.7147 | 779.76 | 5.2942 |  |  | 17.7 |  | 18.2 | 1.04 | 49.5 | 428.9844 | 275.8769 | -6.2571 | -84.3825 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  |  |  | 20 | 15.2 | 0.086 | 1.04 | 0.378 |  |  | 10.9 | 1.11 | 0.31 | 0.418 |  | 6.98 |  | 90 | 9.23 | 3.37 | 0.3 | 0.321 |  |  |  | 5.6 | 3.9 | 2.46 | 4.97 | 4.58 | 0.16 | 0.359 | 18.04 | 6460 | 5450 | 0.84365 | #N/A | 0% | #N/A | 930 | 640 | 143.9628 | 99.0712 | 3.2 |  | 0.25 | 2.9826 | 42.95 | 10.7375 | 10.7375 | 11.501 | 0.56202 | 6.4638 | 21.2829 | 9.7819 | 5.2 | 3.71 | 0.27 | 0.334 | 4.044 | 0.77769 |  | 56.3 | 34.4 |  |  | 19.5 | 17 | #N/A | #N/A | #N/A | #N/A | 0.91741 | #N/A | 7.185 |  |  | 258.7414 | 104.4058
200131 | 2020-01-31 | 548 | 3.7469 | 31.1 | 2.82 | 301 | 122 | 61 | 9.6785 | #N/A |  |  | 33.7743 | 3.6501 | 33.03% |  |  | -366.4 | 0.29192 | 7.0062 | 0.7 | 174.11 | 46 | 9680 | 16360 |  | 31.9 | 41.2 | 86.3 | 95 | 0.095 | 136.8 | 4433 | 3642 | 2010 | 61.8 | 21.42 | 1416 | 1529.28 | 1077 |  | 0.92693 | 2.6743 | 191.8348 | 157.6049 | 66.1785 | 399.4294 | 397.9411 | 22.841 | 498.2256 | 2.9303 |  |  | 14.2 |  | 14 | 0.551 | 51.6 | 447.1838 | 246.9537 | -1.6416 | -74.6742 | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 |  |  |  |  | 13.1 | 0.075 | 0.42 | 0.438 |  |  | 9.18 | 0.909 | 0.09 | 0.638 |  | 6.97 |  | 90 | 6.82 | 2.37 | 0.14 | 0.701 |  |  |  | 4.5 | 3.43 | 1.69 | 3.8 | 3.37 | 0.28 | 0.574 | 13.72 | 6300 | 5200 | 0.8254 | #N/A | 0% | #N/A | 900 | 600 | 142.8571 | 95.2381 | 2.8 |  | 0.25 | 2.9549 | 42.55 | 10.6375 | 10.6375 | 11.5715 | 0.55487 | 6.4206 | 21.7101 | 10.1386 | 3.41 | 3.16 | 0.26 | 0.439 | 3.599 | 1.0554 |  | 51.8 | 38.3 |  |  |  |  | #N/A | #N/A | #N/A | #N/A | 0.87802 | #N/A | 6.085 |  |  | 288.0754 | 100.2845
200205 | 2020-02-05 | 553 | 3.9328 | 35.8 | 3.7 | 368 | 184 | 110 | 10.2793 | 12.5365 |  |  | 38.007 | 3.6501 | 33.03% | 6.65 | 19.7 | -370.5 | 0.29026 | 6.9662 | 0.7 | 174.11 | 46 | [6 empty] | 95 | 0.095 | 136.8 |  |  |  | 51 | 5.38 |  |  | 396 |  | 0.23282 | 2.207 | [6 empty] | #N/A | 0.73598 | 7.07 | 20.5 | [6 empty] | #N/A | #N/A | #N/A | 2.1953 | 0.58 |  | 5 | 0.8 | 3.028 | [14 empty] | 7.28 | 6.95 | 21 | 90 | [5 empty] | 7.24 | 21.1 | [7 empty] | #N/A |  | 5440 | #DIV/0! | 10.42% | 3.438% | 0.034375 | 980 | 880 | #N/A | #N/A | 0.75 |  | 0.25 | 2.963 | 42.6667 | 10.6667 | 10.6667 | #N/A | 0.55567 | #N/A | #N/A | #N/A | 3.17 | 2.74 | 0.26 | 0.446 | 3.186 | 1.005 |  | 52.3 | 32.5 | 36.3 |  | 16.75 | 15.5 | 26.7449 | 6.4671 | 178.656 | 43.2 | 0.86001 | 0.24181 | 5.2 |  |  | 244.4504 | 0
Note on BK2: Ferguson, Lindsey: If negative then release is occuring is positive uptake occuring
Note on EF21: Schoepflin, Sarah: I recalculated these in excel and they check out
Note on AI22: Schoepflin, Sarah: approximate values for sCOD and ffCOD
Note on AO24: Schoepflin, Sarah: ff VFA= 1030
Note on AO25: Schoepflin, Sarah: ff = 1068